## Introduction and Instructions
INDEPENDENT LABORATORY CHECKLIST FOR LAND-BASED AND SHIPBOARD VERIFICATION TESTING OF BALLAST WATER MANAGEMENT SYSTEMS
Welcome
This file is a checklist intended to be used by the United States Coast Guard (USCG) as it evaluates applications by organizations applying to become "Independent Laboratories" (ILs) to conduct verification testing of ballast water management systems (BWMSs). The checklist may be used to evaluate testing at land-based test facilities and shipboard locations, and it accompanies letter report 6130/1321 issued by the Naval Research Laboratory (NRL) and entitled "Assessment of Independent Laboratory Applications to Conduct Land-Based and Shipboard Verification Testing of Ballast Water Management Systems: An Evaluation Tool" by Lisa A. Drake, Timothy P. Wier and Jonathan F. Grant. (Note: this checklist supersedes the checklist attached to letter report 6130/1312 entitled "Assessment of Independent Laboratory Applications to Conduct Land-Based Verification Testing of Ballast Water Management Systems: An Evaluation Tool", as this new one addresses both land-based and shipboard testing, whereas the previous one addresses only land-based testing.) While it is anticipated by the authors that the checklist will be used by the USCG as described here and in the letter report, these documents do not represent the policy of the USCG. Furthermore, the items listed in this checklist are not all inclusive. The checklist is subject to updating by the USCG without notification. The right-most worksheet ("Revision Log") provides a revision history for this file.
The checklist contains multiple worksheets, each in a list format. The "ToC" (Table of Contents) worksheet provides a list of all worksheets (with a hyperlink to each one) and a list of the references cited within each worksheet. That is, each worksheet comprises a group of related items from the U.S. Code of Federal Regulations (CFR) Title 46--Shipping, Part 162--Engineering Department, Subpart 162.060--Ballast Water Management Systems (e.g., a series of items related to in-line sampling). Throughout the checklist, acronyms are used and measurements' units are abbreviated; these terms are defined in the "Definitions" worksheet. In addition, references are made to sections of the International Organization for Standardization (ISO) 17025:2005 standard, the U.S. Environmental Protection Agency's (EPA) Environmental Technology Verification (ETV) Program document "Generic Protocol for the Verification of Ballast Water Treatment Technology" (EPA, 2010), and the EPA's 2008 Vessel General Permit (VGP) and three toxicity testing manuals; see the "Overview of ETV Documents" worksheet for an explanation of the documents referenced by the ETV protocol). A list of references is provided in the orange "References" worksheet.
Please note that viewing the electronic worksheets in this file at magnifications other than a 100% zoom setting may result in some text being truncated; all text should be visible at 100% zoom (the setting can be adjusted in the lower right-hand corner of the window). Also, the checklist is formatted to print only Columns A, C, and D to provide a convenient list for preparation. Some rows' height may appear greater than the text in Column A would seem to warrant; this feature occurs because the text in Column B (which is hidden from the viewer) is longer than the text in Column A, thus increasing the height of Column A. Finally, the tabs at the bottom of the worksheets are color coded to group related subjects:
Orange Tabs: Instructions and Background Information
Dark Blue Tabs: Facility Design
Aqua Blue Tabs: Test Measures
Light Yellow Tabs: Methods and Procedures
Green Tabs: Quality and Facility Management Systems
Each worksheet contains six columns (Note that the columns' letter designators do not appear in the printed version of the file):
Column A - cites the criterion the applicant will meet; the top of the column lists the relevant reference to the Federal Register, ETV Protocol, ISO 17025:2005 standard, or EPA documents.
Column B - is hidden; this column is for internal USCG use.
Column C - is the reference(s) to the documentation submitted by the applicant that demonstrates the applicant meets the criterion in Column A. Here, the applicant will provide specific directions so the reviewer can easily find the relevant information or data within the document(s) the applicant will submit to USCG. The following format should be used: file name, appendix number (if applicable), section number or name (if applicable), page number, e.g., QAPP.doc, Appx 2, Section 3.1, p. 54.
Column D - is for the applicant to add any comments; an entry here is optional and should be provided only if he or she thinks a comment is needed or would provide clarity.
Column E - is for the USCG reviewer's score, which will indicate if the criterion is met (Yes, No, or Partially).
Column F - allows USCG reviewer to add comments.
To submit an IL application, the applicant will (1) complete this checklist in its entirety and (2) submit all necessary documentation (e.g., Quality Assurance Project Plan [QAPP], etc.) to the USCG. If an application includes multiple organizations (e.g., test facilities and contract laboratories), multiple checklists may be submitted (one for each organization), or all information may be submitted in one checklist. PLEASE NOTE: In the checklist, all cells in all worksheets must be filled in; if an answer is not applicable, the cell should have 'n/a' entered.
Questions regarding the use of this checklist should be directed to the U.S. Coast Guard Office of Operating and Environmental Standards (CG-OES-3): Ms. Roshanak Aryan-Nejad, EMAIL: Roshanak. Aryan-Nejad@uscg.mil

## ToC
Table of Contents
Checklist Sections | References Cited in Checklist Section
| 46 CFR 159.010 | 46 CFR 162.060 | ETV 5.1 | ISO 17025 | EPA VGP* 2008
Orange Tabs: Instructions and Background Information
Introduction and Instructions | - | x | x | x | x
Table of Contents (this page) | n/a | n/a | n/a | n/a | n/a
Definitions | - | x | x | x | -
Overview of ETV Documents | - | - | x | - | -
References | x | x | x | x | x
Dark Blue Tabs: Facility Design
Flow Rates and Volumes | - | -26(a), (c)(1-4) | 5.2.3 | - | -
In-Line Sampling | - | -26(a) | 5.3.2.5 | - | -
Augmentation | - | -26(a) | 5.3.3 | - | -
Control and Instrumentation | - | -26(a) | 5.3.4 | - | -
Aqua Blue Tabs: Test Measures
Biological Efficacy (BE) Testing | - | -26(a) | 5.4.4, 5.4.6 | - | -
Challenge Water Requirements - Water Quality | - | -26(a),(d) | 5.2.1 | - | -
Challenge Water Requirements - Biology | - | -26(a) | 5.2.2 | - | -
Other ETV Verification Factors | - | -26(a) | 5.1 | - | -
Toxicity Testing | - | -28 | - | - | 5.8
Shipboard Testing | - | -28 | - | - | -
Yellow Tabs: Methods and Procedures
QAPP | - | -5,-24,-36 | Ch 7, Ch 9 | - | -
Facility Validation | - | -26(c)(1-3) | 5.3.1 | - | -
Method Validation | - | - | Ch 5 | 5.4 | -
Green Tabs: Quality and Facility Management Systems
Personnel | -15 | -26(b) | Ch 2 | 5.2 | -
ISO 17025 | -5(a) | -36 | Appx A | 4.1-5.15, 5.1-5.10 | -
*Although the VGP was reissued in 2013, the U.S. ballast water regulations (and this checklist) refer to the 2008 VGP.
Appx = appendix, CFR = U.S. Code of Federal Regulations, Ch = chapter, EPA = U.S. Environmental Protection Agency, ETV = Environmental Technology Verification Program, ISO = International Standards Organization, n/a = not applicable, QAPP = Quality Assurance Project Plan, VGP = Vessel General Permit, and x = multiple sections of the reference were cited

## Definitions
Acronym or Term | Definition
AS | Active substance
AMS | Alternate Management System, a designation conferred upon BWMSs by the USCG
BE | Biological efficacy
BWDS | Ballast water discharge standard
BWMS | Ballast water management system
CFD | Computational fluid dynamics
CFR | U.S. Code of Federal Regulations
Challenge water | Water supplied to a BWMS during verification testing; in land-based tests, water may be augmented to achieve required conditions
CMFDA | 5-chloromethylfluorescein Diacetate
DOC | Dissolved organic carbon
DOM | Dissolved organic matter
EHS | Environmental, health and safety
EPA | U.S. Environmental Protection Agency
ETV | Environmental Technology Verification Program
FDA | Fluorescein diacetate
FR | Federal Register
gal | U.S. gallon
IL | Independent Laboratory
in situ | 'in position', in the context of ballast water testing: a measurement that is made within the environment, e.g., an in-line sensor
ISO | International Organization for Standardization
IT | Information technology
LBT | Land-based testing
MSDS | Material safety data sheets
N/A | Not applicable
NPDES | National Pollution Discharge Elimination System
O&M | Operations and maintenance
OMSM | Operation, maintenance and safety manual
PE | Performance evaluation
P&ID | Piping and instrumentation diagram
POC | Particulate organic carbon
POM | Particulate organic matter
PSU | Practical salinity units
QA/QC | Quality assurance/quality control
QAPP | Quality assurance project plan
QMP | Quality management plan
SI | International system of units
SOP | Standard operating procedure
STEP | Shipboard technology evaluation program
TA | Type Approval
TF | Test facility
TO | Testing organization
TQAP | Test quality assurance plan
TRC | Treatment rated capacity
TSA | Technical system audit
TSS | Total suspended solids
USCG | United States Coast Guard
VGP | U.S. EPA Vessel General Permit
VR | Verification report
WET | Whole effluent toxicity
Symbol | Definition
Diso | Isokinetic diameter
Dmain | Main ballast pipe diameter
h | Hour
L | Liter
µm | Micrometer
mL | Milliliter
m3 | Cubic meter
Qiso | Isokinetic flow
Qmain | Main ballast pipe flow

## Overview of ETV Documents
The U.S. Environmental Protection Agency's (EPA) Environmental Technology Verification (ETV) Program "Generic Protocol for the Verification of Ballast Water Treatment Technology" (EPA, 2010) describes the submission of several documents. The following items are among those documents, and their purpose is explained below (these explanations are included here, as they may be useful to applicants):
Quality Assurance Project Plan (QAPP): A written document that describes the procedures and quality assurance and quality control (QA/QC) activities used by the Independent Laboratory (IL) or Test Facility for testing ballast water management systems (BWMSs) in general. The QAPP provides a comprehensive overview of the test facility management, infrastructure, capabilities, test methodology, measurement and data collection systems, data management systems, and includes all relevant standard operating procedures (SOPs, typically included as appendices). Information provided by the QAPP is common to all BWMS testing performed at the facility, and it serves as a reference document for the Test/Quality Assurance Plan (TQAP) (see http://www.epa.gov/quality/qapps.html)
Test/Quality Assurance Plan (TQAP): A written document that provides specific details for conducting a test of a particular BWMS at a particular site; this is the test plan for testing a specific BWMS. The TQAP shall include detailed plans for commissioning the BWMS, implementing the test methodology (i.e., the experimental plan), decommissioning, and reporting results. The TQAP identifies all organizations involved in the test and includes vendor BWMS documentation and performance claims. The TQAP also identifies the data to be recorded (and specifies any additional parameters unique to validating the performance of the specific technology in use), operational and challenge parameters that define a valid test cycle, data analyses to be presented in the verification report, and a schedule for testing. The TQAP must reference the specific Quality Assurance Project Plan (QAPP) SOPs that will be employed during testing, such as sample and data collection, sample handling and preservation, technical system audits, performance evaluations, and assessment of data quality that will ensure relevant quality assurance, statistical measures, and control requirements are met. Because the TQAP will be specific to a given BWMS, this document is not required when submitting an application for U.S. Coast Guard (USCG) IL status. However, inclusion of an example TQAP is requested, if available.
Verification Report: A detailed report on the testing results of a particular BWMS according to an approved TQAP and conducted according to the ETV Protocol. The report is prepared by the testing organization (TO) or the parent IL and contains an executive summary of the results, a description of the test facility, photographs of technology being tested, methods and procedures, and a presentation of analyzed data (including test validation data, data quality indicators, and other QA/QC data obtained during the test) from all tests, including ones in which the BWMS's performance claims were not met. Appendices include raw data sets and laboratory audit information, performance evaluation reports, QA/QC data, the TQAP, the BWMS's operations and maintenance (O&M) manual and other relevant information. Because the verification reports will be specific to a given BWMS test, this document is not required when submitting an application for USCG IL status. However, inclusion of an example verification report is requested, if available.
Quality Management Plan (QMP): "A Quality Management Plan documents how an organization will plan, implement, and assess the effectiveness of its quality assurance and quality control operations. Specifically, it describes how an organization structures its quality system, the quality policies and procedures, areas of application, and roles, responsibilities, and authorities. The elements of a quality system are documented in a Quality Management Plan...The QMP is an organization or program-specific document; it describes the general practices of an organization or program. Project-specific details of individual projects of the organization or program are documented in a Quality Assurance Project Plan (see http://www.epa.gov/quality/qapps.html). Thus, the QMP may be viewed as the "umbrella" document under which individual projects are conducted." (EPA, 2012: http://www.epa.gov/QUALITY/qmps.html)
Environmental Health and Safety Plan (EHS): The EHS Plan shall identify all environmental concerns and potential hazards associated with the verification testing process and the test facility (TF), as well as the required measures to prevent exposure to the identified hazards and an emergency contact list. Any environmental, health, or safety issues specific to the test location or the BWMS to be tested must be addressed. A copy of the EHS plan, including all material safety data sheets (MSDS), shall be maintained and readily accessible at the test site.

## References
References
"Standards for Living Organisms in Ships' Ballast Water Discharged in U.S. Waters, Final Rule". 77 Federal Register 57 (23 March 2012), pp. 17254-17304. http://www.gpo.gov/fdsys/pkg/FR-2012-03-23/pdf/2012-6579.pdf
U.S. Environmental Protection Agency. (1995). Short-term Methods for Estimating the Chronic Toxicity of Effluents and Receiving Waters to West Coast Marine and Estuarine Organisms, First Edition. (EPA 600-R-95-136). Washington, DC. http://www.epa.gov/eerd/methods/full_doc.pdf
U.S. Environmental Protection Agency. (2002). Short Term Methods for Estimating the Chronic Toxicity of Effluents and Receiving Water to Freshwater Organisms, Fourth Edition. (EPA-821-R-02-013). Washington, DC. http://water.epa.gov/scitech/methods/cwa/wet/upload/2007_07_10_methods_wet_disk3_ctf.pdf
U.S. Environmental Protection Agency. (2002). Short-term Methods for Estimating the Chronic Toxicity of Effluents and Receiving Water to Marine and Estuarine Organisms, Third Edition. (EPA-821-R-02-014). Washington, DC. http://water.epa.gov/scitech/methods/cwa/wet/upload/2007_07_10_methods_wet_disk1_ctm.pdf
U.S. Environmental Protection Agency. (2008). Vessel General Permit for Discharges Incidental to the Normal Operation of Vessels (VGP). Washington, DC. http://www.epa.gov/npdes/pubs/vessel_vgp_permit.pdf
U.S. Environmental Protection Agency. (2010). Generic Protocol for the Verification of Ballast Water Treatment Technology, Version 5.1. (EPA-600-R-10-146). Washington, DC. http://www.uscg.mil/hq/cg5/cg522/cg5224/docs/600r10146.pdf
U.S. National Archives and Records Administration. (2009). Code of Federal Regulations. Title 46. Independent Laboratory: Acceptance, Recognition, and Termination. Washington, DC. http://www.gpo.gov/fdsys/pkg/CFR-2009-title46-vol6/xml/CFR-2009-title46-vol6-part159-subpart159-010.xml
U.S. National Archives and Records Administration. (2012). Code of Federal Regulations. Title 46. Ballast Water Management Systems. Washington, DC. http://www.gpo.gov/fdsys/pkg/CFR-2012-title46-vol6/xml/CFR-2012-title46-vol6-part162-subpart162-060.xml
International Organization for Standardization. (2005). General Requirements for the Competence of Testing and Calibration Laboratories ISO/IEC 17025:2005). Geneva. http://www.iso.org/iso/catalogue_detail.htm?csnumber=39883

## Flow Rates & Volumes
Criterion | Acceptable Deviation from the Criterion in Column C | To be Completed by Applicant |  | For USCG Use Only
• 46CFR162.060-26(a) & (c)(1)~ (4) • ETV Section 5.2.3, "Challenge Water- Flow Rates and Volumes" |  | Cross Reference(s) to Column A within the Submitted Documentation | Applicant's Comments (If Needed) | Reviewer's Score: Is the criterion met? (Y/N/P)* | Reviewer's Comments
Main Ballast Flow Rate
The instantaneous volumetric flow rate through the BWMS to the Treatment Tank is ≥200 m3 h-1 (880 gpm) | N/A |  |  | N
The instantaneous volumetric flow rate through the piping system to the Control Tank is ≥200 m3 h -1 (880 gpm) | N/A |  |  | N
The instantaneous discharge flow rate through the piping system to drain the Control and Treatment Tanks is ≥200 m3 h -1 (880 gpm) | N/A |  |  | N
The instantaneous flow rates are measured and data are logged using calibrated flow sensors | N/A |  |  | N
The movement of water between various facility subsystems is described | N/A |  |  | N
Appropriate BWMS installation connections are available to provide treatment during uptake, in-tank, discharge, or any combination of those operations | N/A |  |  | N
Primary ballast pump descriptions and their capacity for flow and pressure are included | N/A |  |  | N
The method for ballast uptake and discharge operations (such as simultaneous vs. sequential uptake and discharge) are defined | N/A |  |  | N
Calibration logs are maintained for instrumentation and gauges used in monitoring ballast water movement and storage | N/A |  |  | N
Facility documentation includes a complete list of main flow control valves, including the type of valve and the type of actuation (manual vs. automatic) used to control the valves | N/A |  |  | N
The facility demonstrates an ability to control ballast operations with a facility control system that logs operations such as the start time of the main ballast pump, the position of valves, etc. | N/A |  |  | N
Facility documentation describes the process to start and stop the ballast flow as well as to control the flow rate to a specified set point | N/A |  |  | N
A facility documentation package provides a map of the site layout, piping and instrumentation diagram (P&ID), equipment list of pumps, sensors, valves, etc. | N/A |  |  | N
Tank Volume
Treatment Tank volume is ≥200 m3, and the tank can hold treated water for a minimum duration of 24 h | N/A |  |  | N
Control Tank volume is ≥200 m3, and the tank can hold untreated challenge water for a minimum duration of 24 h | N/A |  |  | N
Drawings are available that show the capacity of Control, Treatment, and any other tanks used in BWMS testing | N/A |  |  | N
The volume of water inside the tanks is measured using automated equipment such as calibrated level sensors | N/A |  |  | N
Facility documentation provides the method and configuration for filling and draining storage tanks used for treatment and control (and discharge, if used) | N/A |  |  | N
*Y = yes, N = no, P = partially met, N/A = not applicable

## In-Line Sampling
Criterion | Acceptable Deviation from the Criterion in Column C | To be Completed by Applicant |  | For USCG Use Only
• 46CFR162.060-26(a) • ETV Section 5.3.2.5, "Design of In-line Sampling Apparatus" |  | Cross Reference(s) to Column A within the Submitted Documentation | Applicant's Comments (If Needed) | Reviewer's Score: Is the criterion met? (Y/N/P)* | Reviewer's Comments
Sampling Apparatus Design and Implementation
The sample port diameter for sampling organisms ≥50 µm has been sized 1.5 to 2.0X the isokinetic diameter (Diso) as calculated by the following equation, which is discussed in the Quality Assurance Project Plan (QAPP). Dmain is the internal pipe diameter of main ballast pipe; Qiso is the sample flow rate; and Qmain is the main ballast flow rate. Deviations from this size are justified with modeling or empirical data. | Deviations are possible, but they must be justified using empirical studies, e.g., new data suggest that 1.0x Diso is acceptable. |  |  | N
The sample port faces into the main ballast flow and has chamfered edges Note: the port should be oriented such that its entrance leg flow is parallel to the main pipe flow and concentric to the larger pipe; the length of the straight section of the sample pipe can vary, but it should not be less than one pipe diameter of the sample pipe | N/A |  |  | N
If flow control is used to control the sample flow rate, a diaphragm valve or similar valve type is used when located prior to sample collection device (e.g., net or filter) Note: the Environmental Technology Verification (ETV) Protocol has specific guidance to not use ball, gate, or butterfly valves unless they are left in the 100% open position during sampling because they may induce organism mortality | N/A |  |  | N
The sample port is placed in the main pipeline at a location where flow is fully mixed and fully developed For guidance, the sampling point should be installed in the straight part of the system; computational fluid dynamics modeling is recommended to optimize location; at a minimum, the sample port should be located at least 10 pipe diameters downstream of any elbows, valves, or pumps | N/A |  |  | N
The biological samples are collected on a time-integrated basis over the entire period of uptake or discharge For guidance, the sample flow rate should be appropriately controlled to be proportional to main ballast flow | N/A |  |  | N
*Y = yes, N = no, P = partially met, N/A = not applicable
𝐷_𝐼𝑠𝑜= 𝐷_𝑀𝑎𝑖𝑛 √(𝑄_𝐼𝑠𝑜/𝑄𝑀𝑎𝑖𝑛)

## Augmentation
Criterion | Acceptable Deviation from the Criterion in Column C | To be Completed by Applicant |  | For USCG Use Only
• 46CFR162.060-26(a) • ETV Section 5.3.3, "Test Organism and Water Quality Augmentation" |  | Cross Reference(s) to Column A within the Submitted Documentation | Applicant's Comments (If Needed) | Reviewer's Score: Is the criterion met? (Y/N/P)* | Reviewer's Comments
Test Organism Augmentation**
Any method used to add or inject organisms must minimize, to the extent possible, organism mortality as a result of its addition or injection mechanism; if organism addition or injection is used, the facility references data showing that the method results in a predictable and suitable density of robust organisms in the challenge water (an internal reference or published data is provided) | N/A |  |  | N
It is expected that the majority of challenge water organisms are ambient organisms, not standard test organisms (STOs). Thus, data should be provided to show the percentage of ambient organisms in challenge water, the percentage of added or injected organisms that are harvested from ambient waters (e.g., with a plankton net), and the percentage of added or injected organisms that are STOs. Likewise, the STOs should be identified by species. |  |  |  | N
The method results in a well-mixed and uniform distribution, spatially and temporally, of organisms within the challenge water and at its introduction at the point of treatment or tank intake The facility produces experimental or computational fluid dynamic models that prove the injection system results in challenge water constituents that are well-mixed | N/A |  |  | N
The facility provides documentation to show that the location of organism injection is appropriate (e.g., it is 10 pipe diameters upstream of the sampling location, so that samples collected are well mixed) | N/A |  |  | N
The facility injects organisms in a time-averaged manner (i.e., constant flow injection over the entire test) This criterion ensures that organisms are not injected en masse at the beginning or end of a fill operation; this information would be included in a validation study that a TF has conducted related to challenge water conditions (see the "Facility Validation" worksheet) |  |  |  | N
Water Quality Augmentation***
Where augmentation of water chemistry occurs, the addition of materials should minimize, to the extent possible, biocidal or growth responses by the ambient organisms The facility should provide a description of the augmentation process that indicates the method, location, and equipment used for delivery of water quality additions; the facility must provide data from validation studies at the TF or a reference showing the materials used to augment water do not increase mortality in challenge water organisms (either ambient or STOs) | N/A |  |  | N
The location of the water quality injection in test facility piping system should be such that it allows for sufficient mixing after injection; if no computational fluid dynamics modeling results are used to demonstrate appropriate mixing, the location(s) should be at least 10 pipe diameters upstream of any sampling apparatus | N/A |  |  | N
The augmentation of water quality constituents occurs in a time-averaged manner (i.e., constant flow injection over the entire test) This criterion ensures that water quality components are not injected in en masse at the beginning or end of a fill operation; this information would be included in a validation study that a test facility has conducted related to challenge water conditions | N/A |  |  | N
*Y = yes, N = no, P = partially met, N/A = not applicable
**This section pertains to organisms in the ≥50 µm size class and <50 µm and ≥10 µm size class.
***The recommended materials for water quality augmentation are described in the "Challenge Water Reqs-WQ" worksheet. This section describes the requirements for adequate augmentation systems.

## Control & Instrumentation
Criterion | Acceptable Deviation from the Criterion in Column C | To be Completed by Applicant |  | For USCG Use Only
• 46CFR162.060-26(a) • ETV Section 5.3.4, "Control & Instrumentation" |  | Cross Reference(s) to Column A within the Submitted Documentation | Applicant's Comments (If Needed) | Reviewer's Score: Is the criterion met? (Y/N/P)* | Reviewer's Comments
Manual and Automated Control of Operational Processes
Operational processes and test conditions are monitored during test operations; procedures are defined and data requirements are discussed in detail in the facility documentation | N/A |  |  | N
The test facility (TF) performs replicate biological efficacy tests per the Environmental Technology Verification Protocol (Section 5.4.7, "BE Validity Criteria") over a span of months or years; internal reports or published data are provided | If reviewer deems data suitable, non-ETV test data may be used to demonstrate repeatability. |  |  | N
The test system is maintained and instruments and sensors are calibrated; procedures are presented in the facility's Quality Assurance Project Plan (QAPP) | N/A |  |  | N
Facility Control of Test Parameters
Challenge conditions are obtained and maintained throughout a given test (e.g., data are presented from sensors measuring salinity, temperature, flow, pressure, etc.) | N/A |  |  | N
Continuous, time-averaged sampling can be achieved (and thus this assumption for using the Poisson distribution to estimate populations of rare organisms [such as in treated ballast water] is valid); continuous, time-averaged sampling is demonstrated by complete and continuous records of sample and ballast flows throughout a given test | N/A |  |  | N
If ballast water management system (BWMS) testing has occurred at the test facility (TF), data are provided to show a BWMS can be operated in accordance with Vendor's requirements (e.g., a record of commands to the BWMS, operational status, power conditions, etc.) | N/A |  |  | N
If BWMS testing has occurred at the facility, data are provided to show no system or environmental effects occurred to perturb the test or BWMS operation (e.g., a record of alerts, faults, outages, environmental conditions, etc.) | N/A |  |  | N
Monitoring and Maintaining Operational Set Points
Control and treatment track flows are continuously monitored, and operational set points are maintained | N/A |  |  | N
Pressure (if appropriate) and flow within sampling devices during uptake and discharge are continuously monitored, and operational set points are maintained | N/A |  |  | N
Pressure and flow from augmentation devices (e.g., biological injection devices) are continuously monitored with operational set points maintained during uptake flows | N/A |  |  | N
Accuracy**
Sensors with high accuracy (±2% or better) are used for volumetric flow measurements at ballast and sampling control points | N/A |  |  | N
Quality Assurance/Quality Control (QA/QC) practices include a check for consistency among sensors by correlating volumetric measures (e.g., tank volumes) to measured time and flow (in relevant tank piping) | N/A |  |  | N
Synchronization of all date/time references (e.g., data acquisition systems, computers and/or staff chronometers that provide reference for manually logged data) occurs at the start of test; these items should be included in the TF QAPP as part of an operational standard operating procedure (SOP) | During testing, if all independent or manual logging devices are server clients with a common time reference, explicit synchronization is not required. |  |  | N
*Y = yes, N = no, P = partially met, N/A = not applicable
**Note that calibration records are addressed in the "ISO 17025" worksheet.

## BE Testing
Criterion | Acceptable Deviation from the Criterion in Column C | To be Completed by Applicant |  | For USCG Use Only
• 46CFR162.060-26(a) • ETV Protocol Section 5.4.4, "Toxicity Testing for Biocide Treatments" • ETV Protocol Section 5.4.6, "BE Testing" |  | Cross Reference(s) to Column A within the Submitted Documentation | Applicant's Comments (If Needed) | Reviewer's Score: Is the criterion met? (Y/N/P)* | Reviewer's Comments
Toxicity Testing for Biocide Treatments
All local, state, and federal regulations for the discharge of toxic effluents are met (e.g., National Pollution Discharge Elimination System [NPDES] permits are in place and described in the Quality Assurance Project Plan [QAPP]) | N/A |  |  | N
The QAPP identifies the process for the facility (or its subcontractor) to conduct toxicity testing of post-treatment effluent for any ballast water management system (BWMS) using active substances (ASs) during the commissioning phase of BWMS verification testing | N/A |  |  | N
Water Quality Parameters and Analysis**
Temperature (collected in situ and continuously) is measured in the challenge water uptake water and post-treatment water (i.e., upon discharge) | N/A |  |  | N
Salinity (in situ or by discrete grab) is measured in the challenge water uptake water and post-treatment water (i.e., upon discharge) | N/A |  |  | N
Total suspended solids (discrete grab) are measured in the challenge water uptake water and post-treatment water (i.e., upon discharge) | N/A |  |  | N
Particulate organic matter (discrete grab) is measured in the challenge water uptake water and post-treatment water (i.e., upon discharge) | N/A |  |  | N
Dissolved organic matter (in situ, continuously or by discrete grab) is measured in the challenge water uptake water and post-treatment water (i.e., upon discharge) | N/A |  |  | N
Dissolved oxygen (in situ, discrete) is measured in the challenge water uptake water and post-treatment water (i.e., upon discharge) | N/A |  |  | N
pH (in situ, continuously) is measured in the challenge water uptake water and post-treatment water (i.e., upon discharge) | N/A |  |  | N
Chlorophyll a biomass (in situ, continuously) is measured in the challenge water uptake water and post-treatment water (i.e., upon discharge) | N/A |  |  | N
Biological Parameters***
For purposes of rigorous testing, ambient assemblages are preferred, so any use of standard test organisms, harvested ambient organisms, or cultured ambient organisms to achieve challenge water thresholds should be clearly explained and justified | N/A |  |  | N
In the discharge of the Control Tank after the appropriate hold time, living, ambient organisms (and standard test organisms, if used) are quantified; ideally, the dominant species or taxa are identified | N/A |  |  | N
In the discharge following an in-line BWMS (if the treatment is in-line vs. in-tank), living, ambient organisms (and standard test organisms, if used) are quantified; ideally, the dominant species or taxa are identified | N/A |  |  | N
In the treated discharge water after appropriate hold time and any final treatment processing during discharge, living, ambient organisms (and standard test organisms, if used) are quantified; ideally, the dominant species or taxa are identified | N/A |  |  | N
Sample Volumes and Data Quality
The sample volume collected for treated organisms ≥50 µm is [3-5 m3], or more, and the [entire volume] is analyzed; the volumes are defined and justified in the facility's standard operating procedures (SOPs)**** | N/A |  |  | N
The sample volume collected for treated organisms ≥10 µm and <50 µm is ≥2 L, and the volume analyzed is ≥6 mL; the volumes are defined in the facility's SOPs | N/A |  |  | N
The sample volume collected for treated organisms <10 µm is ≥2 L, and 1 mL is added to each of ≥three dilution series for each media used; the volumes are defined in the facility's SOPs | N/A |  |  | N
Enumeration of Organisms ≥50 µm
The maximum holding time for samples in the laboratory must be <6 hours | N/A |  |  | N
The maximum holding time for organisms has been validated and the data are provided | N/A |  |  | N
Mortality of organisms during the hold time in the laboratory (prior to analysis) is ≤5% | Mortality cannot exceed 10%, and if it is >5%, a justification and SOP must be provided |  |  | N
Samples are dispensed into counting chambers using 5-mL serological pipettes or similarly accurate instruments that can effectively capture swimming organisms | If a different instrument is used to capture organisms, its accuracy (for the volume measured) must be ≤3%. |  |  | N
Samples are analyzed in multi-well plates, Bogorov chambers, Sedgewick-Rafter counting chambers or counting wheels under 10x to 40x magnification; the method is described in the facility's SOPs | If a method other than that listed in Column C is used, the facility will provide a justification, reference, and an SOP |  |  | N
The number of dead organisms are counted (determined by gently touching them with a probe), the samples are fixed in Lugol's solution or another preservation agent, the total number of organisms are counted, and the number of living organisms is determined by subtraction (ideally, organisms are identified to species or lowest possible taxon); the method is described in the facility's SOPs | If a method other than that listed in Column C is used (i.e., only counting live organisms), the facility will provide a justification, reference, and an SOP |  |  | N
Enumeration of Organisms ≥10 µm and <50 µm
Organisms are sieved through a mesh ≤10 on the diagonal | N/A |  |  | N
Samples are processed immediately | N/A |  |  | N
A combination of the vital stains fluorescein diacetate (FDA) and 5-chloromethylfluorescein Diacetate (CMFDA) vital stains are used with a 30-min incubation to enumerate organisms (ideally, organisms are identified to species or lowest possible taxon); the method is described in the facility's SOPs | If a method other than that listed in Column C is used, the facility will provide a justification, reference, and an SOP |  |  | N
If another method was used to enumerate organisms, an on-site validation was conducted | N/A |  |  | N
Enumeration of Organisms <10 µm
Samples are processed immediately | N/A |  |  | N
Two general purpose media (e.g., 2216 Marine Agar and salt-modified R2A agar for marine samples or Plate Count Agar and Nutrient Broth for freshwater samples) are used for culturable, aerobic heterotrophic bacteria, and samples are diluted in a 10-fold dilution series, incubated at 25°C for 5 days (3-5 days if colony overgrowth seems imminent); the method is described in the facility's SOPs | If media other than those listed in Column C are used, the facility will provide justifications, references, and SOPs for them |  |  | N
''E. coli cells are quantified using U.S. Environmental Protection Agency (EPA) Method 1603 or IDEXX Colilert® kits; the method is described in the facility's SOPs | N/A |  |  | N
'Enterococci cells are quantified using a modified version of U.S. EPA Method 1106.1 (as described in the ETV Protocol) or IDEXX Enterolert® kits; the method is described in the facility's SOPs | N/A |  |  | N
Vibrio cholerae O1 and O139 cells are quantified using DNA colony blot hybridization; the method is described in the facility's SOPs | N/A |  |  | N
*Y = yes, N = no, P = partially met, N/A = not applicable
**See the "Challenge Water Reqs-WQ" worksheet for more information on challenge water conditions.
***See the "Challenge Water Reqs-Bio" worksheet for more information on challenge water conditions.
****A test facility will likely concentrate the volume of water through a plankton net (or other similar device) to a smaller volume. The volume analyzed will be described in the SOPs. Sample volumes of 3 to 5 m3 would be acceptable IF the entire volume of concentrated sample is analyzed and there is documented validation that the analysis can be done with acceptable accuracy and precision.

## Challenge Water Reqs-WQ
Criterion | Acceptable Deviation from the Criterion in Column C | To be Completed by Applicant |  | For USCG Use Only
• 46CFR162.060-26(a)&(d) • ETV Section 5.2.1, "Challenge Water - Water Quality Characteristics" |  | Cross Reference(s) to Column A within the Submitted Documentation | Applicant's Comments (If Needed) | Reviewer's Score: Is the criterion met? (Y/N/P)* | Reviewer's Comments
Temperature
Challenge water temperature is 4 – 35 °C | N/A |  |  | N
Salinity
The salinity of test water is fresh (< 1 PSU), brackish (10-20 PSU), or marine (28-36 PSU) | The deviation from the salinity range cannot exceed 10% (e.g., for brackish water, the range would be 9-22 PSU) |  |  | N
Test facility can provide data over the entire test season showing the salinity condition is met | If a 12-month data set is not available, a data set over the period of testing (e.g., March - September) must be provided |  |  | N
If the salinity is artificially modified, the facility must provide data showing the concentrations, diversity, and condition of organisms will not be affected by the modification | N/A |  |  | N
If the salinity is artificially modified so that two salinities are tested, they should have differing biological communities (e.g., the TF should not simply use the same water mass with and without brine, since they would have the same biological communities); thus, the applicant will provide data on the community structures of organisms in both salinities (species names and abundance, so a reviewer verify that the community structures are different). Note that the using STOs to constitute the majority of organisms in challenge water is undesirable. |  |  |  | N
Particulate and Dissolved Organic Matter (POM and DOM)
POM must be ≥4 mg L-1 as particulate organic carbon, POC (water may be augmented, e.g., with the addition of humic material)** | N/A |  |  | N
Test facility can provide data over the entire test season showing the POM concentration is met | If a 12-month data set is not available, a data set over the period of testing must be provided |  |  | N
DOM must be ≥6 mg L-1 as DOC (water may be augmented e.g., using decaffeinated iced tea mix) | N/A |  |  | N
Test facility can provide data over the entire test season showing the DOM concentration is met | If a 12-month data set is not available, a data set over the period of testing must be provided |  |  | N
Mineral Matter (MM) - Clays and Silts
MM is ≥20 mg L-1 (water may be augmented e.g., using ISO 12103-1 A3 or A4 test dust) | N/A |  |  | N
Test facility can provide data over the entire test season showing the MM concentration is met | If a 12-month data set is not available, a data set over the period of testing must be provided |  |  | N
*Y = yes, N = no, P = partially met, N/A = not applicable
**See the "Augmentation" worksheet for more information about augmenting challenge water.

## Challenge Water Reqs-Bio
Criterion | Acceptable Deviation from the Criterion in Column C | To be Completed by Applicant |  | For USCG Use Only
• 46CFR162.060-26(a) • ETV Section 5.2.2, "Challenge Water - Biological Organism Conditions" |  | Cross Reference(s) to Column A within the Submitted Documentation | Applicant's Comments (If Needed) | Reviewer's Score: Is the criterion met? (Y/N/P)* | Reviewer's Comments
Organism Concentrations**
The concentration of organisms ≥50 µm is ≥105 m-3 | N/A |  |  | N
The diversity of organisms ≥50 µm present in the water is at least 5 species across 3 phyla | N/A |  |  | N
The facility can provide data over the entire test season showing the concentration and diversity conditions for organisms ≥50 µm are met | If a 12-month data set is not available, a data set over the period of testing must be provided |  |  | N
The concentration of organisms ≥10 µm and <50 µm is ≥ 103 mL-1 | N/A |  |  | N
The diversity of organisms ≥10 µm and <50 µm present in the water is at least 5 species across 3 phyla | N/A |  |  | N
Test facility can provide data over the entire test season showing the concentration and diversity conditions for organisms ≥10 µm and <50 µm are met | If a 12-month data set is not available, a data set over the period of testing must be provided |  |  | N
The concentration of organisms <10 µm (as culturable, aerobic, heterotrophic bacteria) is ≥ 103 mL-1 | N/A |  |  | N
Test facility can provide data over the entire test season showing the concentration of culturable, aerobic, heterotrophic bacteria is met | N/A |  |  | N
*Y = yes, N = no, P = partially met, N/A = not applicable
**These concentrations must be achieved at 1) the influent point of the Control Tank and 2) immediately prior to the point of treatment for ballast water management systems (BWMSs) that treat upon uptake or at the Treatment Tank influent point for BWMSs that treat either wholly in-tank or upon discharge; organisms are sized by the maximum dimension on the smallest axis.

## Other ETV Verification Factors
Criterion | Acceptable Deviation from the Criterion in Column C | To be Completed by Applicant |  | For USCG Use Only
• 46CFR162.060-26(a) • ETV Section 5.1, "Test Verification Factors" |  | Cross Reference(s) to Column A within the Submitted Documentation | Applicant's Comments (If Needed) | Reviewer's Score: Is the criterion met? (Y/N/P)* | Reviewer's Comments
Records Relating to Operation and Maintenance Activities
The facility generates a record of all maintenance activities conducted to ensure normal operation of the ballast water management system (BWMS) over the duration of the testing period | N/A |  |  | N
The facility documents any issues associated in operation or maintenance of the BWMS encountered during test operations, including any recorded data or operator observations associated with performance deviations or abnormal or unexpected operations | N/A |  |  | N
BWMS Reliability Records
The facility maintains a record of any reliability issues or interruptions to normal operations of the BWMS during testing | N/A |  |  | N
The facility documents any deviations in recommended maintenance intervals | N/A |  |  | N
BWMS Cost Factor Records
The facility has appropriate instrumentation to log the power consumption of the BWMS throughout test operations | N/A |  |  | N
The facility maintains a record of all items consumed by the BWMS (e.g., chemical stocks) during the testing period | N/A |  |  | N
BWMS Environmental Acceptability
The facility has a procedure to monitor any potential chemical residuals that result from BWMS operation during testing | N/A |  |  | N
The facility ensures that the BWMS successfully alerts the operator if its discharge exceeds prescribed levels as determined by vendor, environmental discharge standards, or both | N/A |  |  | N
BWMS Safety Factors
The facility ensures that the BWMS successfully alerts the operator if any safety issues are encountered during operations | N/A |  |  | N
The installation and commissioning process includes a record in which the manufacturer or his or her representative indicates the equipment was correctly installed and safe to operate under its intended operating conditions; the record also indicates whether the designated facility representative(s) has received appropriate instruction in operation and maintenance of the equipment | N/A |  |  | N
*Y = yes, N = no, P = partially met, N/A = not applicable

## Toxicity Testing
Criterion | Acceptable Deviation from the Criterion in Column A | To be Completed by Applicant |  | For USCG Use Only
• 46CFR162.060-28 • Vessel General Permit for Discharges Incidental to the Normal Operation of Vessels (VGP) DEC 2008+ • EPA-821-R-02-013, EPA-821-R-02-014, and EPA-600-R-95-136 (EPA Toxicity Testing Manuals) |  | Cross Reference(s) to Column A within the Submitted Documentation | Applicant's Comments (If Needed) | Reviewer's Score: Is the criterion met? (Y/N/P)* | Reviewer's Comments
Whole Effluent Toxicity (WET) Testing
Annual verification testing demonstrates, for each organism tested, that the WET tests of ballast water discharges do not exceed a chronic toxicity unit (TUc) of 1.6 TUc as a daily maximum or 1.0 TUc as a monthly median (VGP-Section 5.8.1.2). | N/A |  |  | N
If a ship discharges salt water ballast into salt water or freshwater or discharges freshwater ballast into salt water, the chronic WET testing includes at least 1 vertebrate, 1 invertebrate, and 1 plant from each of Group A, Group B, and Group C as listed in Appendix J of the VGP** (VGP-15.1.A) | N/A |  |  | N
If a ship discharges freshwater ballast into freshwater, the chronic WET testing includes organisms listed in Appendix J of the VGP*** (VGP-15.1.B) | N/A |  |  | N
The test report describes test conditions such as the test chamber size, solution volume, temperature, dilution water source, exact test start time, exact test end time, etc. (VGP 15.2.D and EPA-821-R-02-013 Section 10 or EPA-821-R-014 Section 10 or EPA-600-R-95-136 Section 10) | N/A |  |  | N
The test report includes readable copies of all hand-written bench data sheets with toxicological and water chemistry data for the biocide tests (VGP 15.2.D and EPA-821-R-02-013, EPA-821-R-014, or EPA-600-R-95-136) | N/A |  |  | N
Bench data sheets contain raw data (e.g., counts, not percentages) (VGP-15.2.D) | N/A |  |  | N
The test report includes a computer printout of the test data and statistical analyses, and information such as test organism source, age, and unusual conditions must be reported (VGP-15.2.D) | N/A |  |  | N
The test report includes a section describing deviations from the test protocol or the absence of deviations from protocols (VGP-15.2.D and EPA-821-R-02-013 Section 10 or EPA-821-R-014 Section 10) | N/A |  |  | N
Biocide solutions (tested discharge water) were stored in the dark at 8 ± 1°C in a container that does not absorb the biocide and has minimal headspace (VGP-15.2.B) | N/A |  |  | N
7-day chronic toxicity tests were started with a freshly prepared biocide solution and renewed with biocide solution during the 7-day test (VGP-15.2.B) | N/A |  |  | N
Test documentation shows that all ballast water samples for toxicity testing were composites of at least 4 grab samples taken at approximately equal intervals during a ballast water discharge event and include water discharged near the beginning and near the end of a discharge event (VGP-15.2.B) | N/A |  |  | N
Test documentation shows that toxicity tests started no more than 36 hours after samples were collected (VGP-15.2.B) | N/A |  |  | N
Quality Assurance
A series of five dilutions and a control (with laboratory water as described in the test methods manual) were used in the following series: 12.5%, 25%, 50%, 62.5% and 100% from the ballast water discharge (VGP-15.2.C) | N/A |  |  | N
If the test organisms were not cultured in-house, documentation shows concurrent testing on the organisms with reference toxicants (VGP-15.2.C) | N/A |  |  | N
If the test organisms were cultured in-house, documentation shows monthly reference toxicant testing was conducted (VGP-15.2.C) | N/A |  |  | N
Biocide Toxicity Testing to Demonstrate Zero Toxicity at Ballast Water Discharge
If the ballast water management system (BWMS) uses a biocide that gradually becomes nontoxic (due to volatilization, reaction, or degradation) during a voyage, the maximum biocide concentration was determined by holding the biocide in a storage container, under condtions as similar as possible to those in a ballast tank (including the surface area:volume ratio), at 8 ± 1°C, and in the dark (VGP-15.3.A) | N/A |  |  | N
Separate toxicity tests were conducted on each sample drawn from the storage container every 4 hours over a 24-hour time period; alternatively, samples of biocide-treated water may be prepared at 4-hour intervals and all of the toxicity tests initiated at the same time (VGP-15.3.A) | N/A |  |  | N
Toxicity Testing to Verify Biocide Neutralization
If the BWMS used a biocide that remained toxic during the voyage and included a neutralization step prior to discharge, toxicity testing of the biocide after neutralization and toxicity testing of the neutralizing chemical were performed (VGP-15.3.B) | N/A |  |  | N
+This worksheet references the Vessel General Permit for Discharge Incidental to the Normal Operation of Vessels (VGP) effective on 19 DEC 2008; some text in this worksheet is written verbatim from the VGP.
*Y = yes, N = no, P = partially met, N/A = not applicable
**Group A: 7-day survival and growth test with silverside minnows (Menidia beryllina in EPA-821R-02-014) or 7-day survival and growth test with topsmelt (Atherinops affinis in EPA-600-R-95-136 ). Group B: 7-day survival and growth test with a mysid (Americamysis bahia in EPA-821-R-02-014) or 7-day survival and growth test with a Pacific mysid (Holmesimysis costata in EPA-600-R-95-136) or 48-hour bivalve fertilization with the mussel (Mytilus sp. in EPA-600-R-95-136) or oyster (Crassostrea gigas in EPA-600-R-95-136) or 1-hour fertilization with the purple urchin (Strongelocentrotus pupuratus in EPA-600-R-95-136) or sand dollar (Dendraster excentricus in EPA-600-R-95-136). Group C: 72-hour growth inhibition test with a marine diatom (Skeletonema costatum according to ISO 10253) or 48-hour germination and germ-tube length test with giant kelp (Macrocystis pyrifera in EPA-600-R-95-136).
***7-day survival and growth test with fathead minnows (Pimephales promelas in EPA-821-R-02-013), 7-day survival and reproduction test with a cladoceran (Ceriodaphnia dubia in EPA-821-R-02-013), and 96-hour growth inhibition test with the algal species (Pseudokirchneriella subcapitata, formerly Selenastrum capricornutum, in EPA-821-R-02-013).
****The test report should include the following sections: I. Introduction, II. Plant Operations, III. Source of Effluent, Receiving Water, and Dilution Water, IV. Test Methods, V. Test Organisms, VI. Quality Assurance, VII. Results, VIII. Conclusions and Recommendations.

## Shipboard Testing
Criterion | Acceptable Deviation from the Criterion in Column A | To be Completed by Applicant |  | For USCG Use Only
• 46CFR162.060-28 |  | Cross Reference(s) to Column A within the Submitted Documentation | Applicant's Comments (If Needed) | Reviewer's Score: Is the criterion met? (Y/N/P)* | Reviewer's Comments
Ship Selection and Installation Criteria
Testing occurs over a period ≥6 months | N/A |  |  | N
The ballast water management system (BWMS) to be installed is expected to result in compliant discharges based on land-based testing | N/A |  |  | N
The BWMS is to be installed and operated in a location and configuration consistent with its final intended use on operating vessels | N/A |  |  | N
The vessel provides ballast flows and volume set points that achieve at least [80%] of BWMS treatment rated capacity (TRC). If the vessel cannot achieve this level, the BWMS must operate at a set point that is a minimum of [90%] of vessel capability. Ballast flows and tank volumes must be equal to or exceed those used during land based testing. Ballasting set points are to exclude periods of ramp up, ramp down, and stripping. | N/A |  |  | N
Ports of call provide adequate availability of transportation and scientific support to accomplish required sampling and analytical test procedures | N/A |  |  | N
Vessel operations provide a range of geographic locations that include temperate, semi-tropical or tropical locations, and they experience seasonal variability | N/A |  |  | N
Source water during testing is obtained in harbor or coastal waters and provides a significant challenge to the BWMS | N/A |  |  | N
Source water concentrations for organisms ≥50 µm size class exceeds 100 organisms m-3 | N/A |  |  | N
Source water concentrations for organisms ≥10 and <50 µm size class exceeds 100 organisms mL-1 | N/A |  |  | N
Shipboard Test Plan and Report
The number of living organisms in ballast water is used to measure compliance to the U.S. ballast water discharge standard with an accuracy at or better than the regulatory limits and assesses the ability of the BWMS to consistently meet these requirements | The G8 requires minimum sample volumes of 1 m3 for the ≥50 µm size class and 1 L for the ≥10 and <50 µm size class, but it does not specify measurement accuracy; thus, it is improbable that this criterion could be met through G8 testing |  |  | N
The test plan and report document that the manufacturer's operating and maintenance parameters (as identified in the Operation, Maintenance and Safety Manual [OMSM]) are consistently achieved | N/A |  |  | N
The report verifies that the BWMS is installed and operating consistent with the intended use, and it is operated solely by the vessel crew | N/A |  |  | N
The test plan and report document the methods used for all measurements and identify any methods not described in the Environmental Technology Verification (ETV) Program Protocol and their subsequent acceptance by the USCG | N/A |  |  | N
If relevant, the test plan and report document enrollment in the Shipboard Technology Evaluation Project (STEP; U.S. waters), or the necessary permits and approvals for discharge of treated ballast water in non-U.S. waters, or both | N/A |  |  | N
The test plan and report describe sample ports consistent with the ETV Program Protocol that are installed as close as practicable to the BWMS inlet to determine uptake conditions | N/A |  |  | N
The test plan and report describe sample ports consistent with the ETV Protocol that are installed as close as practicable to the BWMS overboard outlet to determine discharge conditions | N/A |  |  | N
The test plan and report describe sample ports consistent with the ETV Protocol that are provided elsewhere as necessary to ascertain the proper functioning of the BWMS | N/A |  |  | N
Test results document volumes and geographic locations of all ballast water uptake and discharge | N/A |  |  | N
The test plan and report document all test cycles (both valid and invalid) and include the quantification of living organisms in the discharge | N/A |  |  | N
Five consecutive, valid test cycles are conducted to determine the efficacy of the BWMS | G8 requires 3 consecutive tests for shipboard testing; this should be acceptable for foreign TA determination if all 5 land-based tests were completed and met both the G8 challenge requirements and D-2 discharge standard. |  |  | N
Test results document investigations and possible reasons for invalid test cycles, failures to meet discharge standards, or both | N/A |  |  | N
Test results document all weather conditions and resultant effects | N/A |  |  | N
Test results document all scheduled and unscheduled maintenance | N/A |  |  | N
Test results document all materials consumed as needed to maintain operation of the BWMS during testing | N/A |  |  | N
Test results document all engineering and other parameters necessary for tracking the function of the control and monitoring equipment | N/A |  |  | N
Test results document the calibration frequency and the methods used for all instruments | N/A |  |  | N
Valid Test Cycle Criteria
Source and discharge ballast water samples are collected from inline sampling ports in accordance with the ETV Protocol | If continuous samples were not collected, ensure the G8 guidance was followed: three replicate samples obtained at the beginning, middle and end during control tank uptake and discharge; treated discharge water has three replicate samples collected at each of the three sample collection times |  |  | N
Source water is analyzed for live organisms (reported by taxa) in the ≥50 µm size class | N/A |  |  | N
Source water is analyzed for live organisms (reported by taxa) in the ≥10 and <50 µm size class | N/A |  |  | N
Source water meets geographic and seasonal variability requirements (source water is representative of coastal waters and must include temperate, semi-tropical, and tropical locations) | N/A |  |  | N
Source water samples are analyzed for salinity, temperature, turbidity, along with any other water quality parameters (e.g., dissolved and particulate organic material, pH, etc.) that may affect efficacy of the BWMS under test | G8 requires measurement of salinity, temperature, particulate organic carbon, and total suspended solids |  |  | N
Discharge water is analyzed for live organisms (reported by taxa) in the ≥50 µm size class and meets or exceeds regulatory requirements | N/A |  |  | N
Discharge water is analyzed for live organisms (reported by taxa) in the ≥10 and <50 µm size class and meets or exceeds regulatory requirements | N/A |  |  | N
The BWMS operates as designed and properly maintains all control set points and treatment processes | N/A |  |  | N
Appropriate methods are used in the analysis of discharge water; they validate that all water quality parameters were met for the BWMS under test | N/A |  |  | N
Quality Assurance/Quality Control (QA/QC) procedures verify that the data were collected and analyzed in accordance with the Test Plan/Test Quality Assurance Plan (TQAP) and the ETV Program Protocol | N/A |  |  | N
Ballasted flows and volumes are typical of normal operations for the ship and consistent with the test plan | N/A |  |  | N
*Y = yes, N = no, P = partially met, N/A = not applicable

## QAPP
Criterion | Acceptable Deviation from the Criterion in Column C | To be Completed by Applicant |  | For USCG Use Only
• 46CFR162.060-5, -24 & -36 • ETV Chapter 7, "Quality Assurance/Quality Control" • ETV Chapter 9, "Environmental Health and Safety Plan" |  | Cross Reference(s) to Column A within the Submitted Documentation | Applicant's Comments (If Needed) | Reviewer's Score: Is the criterion met? (Y/N/P)* | Reviewer's Comments
Quality Assurance Project Plan (QAPP) Requirement
The facility is accredited to ISO 17025:2005 | If no independent accreditation, the applicant must fill out the checklist in the "ISO 17025" worksheet |  |  | N
The test facility has a Quality Assurance Project Plan (QAPP) for ballast water management system (BWMS) testing that is regularly reviewed and updated (as defined by the facility's Quality Management Plan [QMP]) | N/A |  |  | N
Water Quality Parameters and Analysis
The QAPP identifies and defines all relevant procedures, measurement methods, and test protocols (i.e., the QAPP indicates all standard operating procedures [SOPs] are provided, likely as an appendix or in other external references) | N/A |  |  | N
The QAPP describes the methods and statistical analyses used to assess data quality (including criteria for data quality indicators [DQIs]) and acceptance limits for the following indicators: representativeness accuracy, precision, bias, comparability, and completeness | N/A |  |  | N
The QAPP indicates the use of spikes, blanks, and detection limit indicators as quality checks where applicable | N/A |  |  | N
The QAPP identifies the processes for data entry, data analysis, data management, and data security | N/A |  |  | N
Overall, the QAPP provides a thorough description of the experimental approach employed by the facility that includes the objectives and purpose of the testing, the apparatus and processes used to perform the testing (from installation through decommissioning), and the methods that establish data quality and accuracy of the reported results. | N/A |  |  | N
The QAPP identifies all technical system audits (TSAs) and performance evaluations (PEs) to be performed, who will perform these audits, and whom will receive the audit reports | The QAPP may also reference suitable definitions provided within the facility Quality Management Plan (QMP) |  |  | N
An example Test Plan or Test Quality Assurance Plan (TQAP) is provided | Not required by regulations, but if not available suggests TF has minimal experience and warrants additional scrutiny |  |  | N
Environmental, Safety and Health (ESH) Plan
The facility has an ESH plan that is regularly reviewed and updated | N/A |  |  | N
*Y = yes, N = no, P = partially met, N/A = not applicable

## Facility Validation
Criterion | Acceptable Deviation from the Criterion in Column C | To be Completed by Applicant |  | For USCG Use Only
• 46CFR162.060-26(c)(1-3) • ETV Section 5.3.1, "Overall Experimental Configuration" |  | Cross Reference(s) to Column A within the Submitted Documentation | Applicant's Comments (If Needed) | Reviewer's Score: Is the criterion met? (Y/N/P)* | Reviewer's Comments
Validation that Differences Between Control and Treatment Pipelines at a Test Facility Are Minimal When No BWMS Treatment Occurs
Core water chemistry measures (temperature, salinity, total suspended solids, particulate organic matter, dissolved organic matter, dissolved oxygen, and pH) are not significantly different between Control and Treatment lines | N/A |  |  | N
Ballast system flows and pressures are not significantly different between lines | N/A |  |  | N
Live and dead organisms ≥50 µm are not significantly different between lines | N/A |  |  | N
Live and dead organisms ≥10 µm and <50 µm are not significantly different between lines | N/A |  |  | N
Live organisms <10 µm (heterotrophic bacteria, indicator organisms, and pathogens) are not significantly different between lines | N/A |  |  | N
Validation that Cross Contamination Does Not Occur at a Test Facility (If Piping is Shared Between Control and Treatment Lines)
Procedures are described that validate the effectiveness of cleaning lines (e.g., using an inspection technique to examine the residual level of a biocide or to count organisms) | N/A |  |  | N
If no cleaning occurs between ballast operations, the operational sequence is designed to prevent cross contamination. Such a sequence could be: in uptake operations, water flows through control piping prior to treatment piping, and in discharge operations, treated water flows through the piping prior to control water. A small amount of the control discharge volume can be used to flush common piping if it is discarded from the measured control volume. | N/A |  |  | N
Holding Tanks and Drainage (added w/ Rev 03)
The tank drains, including internal tank structures, shall be located, to the extent possible, to minimize the retention of water following discharge. The TF must validate that the design and operation of holding tanks does not result in retention of significant volumes of water containing concentrations of living organisms statistically different than in water discharged from the tanks. The validation must ensure that retention of water does not result in a determination that a BWMS meets the test requirement when such would not be the case if all water were sampled. | N/A |  |  | N
*Y = yes, N = no, P = partially met, N/A = not applicable

## Method Validation
Criterion | Acceptable Deviation from the Criterion in Column C | To be Completed by Applicant |  | For USCG Use Only
• ISO/IEC 17025:2005(E) Section 5.4, "Test and Calibration Methods and Method Validation" • ETV Chapter 5, "Experimental Design" |  | Cross Reference(s) to Column A within the Submitted Documentation | Applicant's Comments (If Needed) | Reviewer's Score: Is the criterion met? (Y/N/P)* | Reviewer's Comments
Experimental Data and Statistical Analysis Validate In-line Sampling for Biological Efficacy
Experimental data (using appropriately sized organisms, proxies for organisms, or both) demonstrate the facility's ability to repeatedly sample the two larger size classes of organisms**; internal data or references published data are provided | N/A |  |  | N
Systemic effects are examined across the facility by sampling organisms at multiple locations in the piping system to insure minimal mortality is induced, e.g., mortality is consistent when measured at different locations, such as Control vs. Treatment tracks; internal data or references published data are provided | N/A |  |  | N
A statistical justification and method detection limit are defined for the sampling methods described in the SOPs (e.g., the sample volume, concentration factor, and volume analyze will be listed) | N/A |  |  | N
Measurement Uncertainty Analyses Justify Sample Volumes and Data Quality Procedures, and They are Validated with Experimental Data
Validation experiments or quality assurance/quality control (QA/QC) data demonstrate that the counting accuracy for living organisms is high at target concentrations; internal data or references published data are provided | N/A |  |  | N
Uncertainty analysis is used to quantify the error (e.g., coefficient of variation) surrounding measurements of living organisms in a) challenge water and b) treated discharge water meeting the USCG discharge standard; internal data or references published data are provided | N/A |  |  | N
*Y = yes, N = no, P = partially met, N/A = not applicable
**The two largest size classes are ≥ 50 µm; ≥ 10 µm and < 50 µm.
Note on B9: Lisa Drake:

## Personnel
Criterion | Acceptable Deviation from the Criterion in Column C | To be Completed by Applicant |  | For USCG Use Only
• 46CFR162.060-26(b); 46CFR159.010-15 • ETV Chapter 2, "Responsibilities of Involved Organizations" • ISO 17025:2005(E), Section 5.2 "Personnel" |  | Cross Reference(s) to Column A within the Submitted Documentation | Applicant's Comments (If Needed) | Reviewer's Score: Is the criterion met? (Y/N/P)* | Reviewer's Comments
Personnel Information
Contact information (including cell phone numbers and email addresses) for the facility director, site operations manager, test planning coordinator is provided; additional contacts may also be provided | N/A |  |  | N
A list of key personnel, which provides affiliations (e.g., with a nearby university) and associated responsibilities, is included for individuals with the following responsibilities: test director, site operations manager, sample collection and handling personnel, quality assurance/quality control (QA/QC) officer, and at least one analyst for each of the three biological size classes; all personnel must be employed by or under contract to the independent laboratory (IL) or test facility (TF) | It is acceptable if one key analyst is identified for multiple size classes, provided the number of qualified analysts during testing is consistent with the QAPP. |  |  | N
Qualifications for personnel involved in testing include (at minimum) the following disciplines: chemistry, engineering, biology/microbiology | N/A |  |  | N
Personnel Qualifications
The facility maintains current job descriptions for managerial, technical and key support personnel involved in tests and calibrations | N/A |  |  | N
Up-to-date training records are maintained and include test operators and analytical personnel | N/A |  |  | N
Test operations staffing is consistent with the requirements specified in the QAPP; the minimum expectation for a facility incorporating automated data logging and control is to employ: 1 on-site test director, 2 operations engineers, 1 QA/QC officer, 1 sample handling staff member, 2 analysts for organisms ≥50 µm, 2 analysts for organisms ≥10 and <50 µm, and 1 analyst for organisms <10 µm | N/A |  |  | N
The facility staff is capable of providing all needed laboratory, logistics, information technology (IT), data management, and administrative support | N/A |  |  | N
Subcontracted Facilities
Provide facility name, experience, credentials, contact information and test(s) to be performed by any and all subcontracted facilities. (Use a separate document if preferred) | N/A |  |  | N
*Y = yes, N = no, P = partially met, N/A = not applicable

## ISO 17025
Criterion, If the Applicant is not ISO Accredited+ | Acceptable Deviation from the Criterion in Column C | To be Completed by Applicant |  | For USCG Use Only
• 46CFR162.060-36 • ETV Appendix A, "Quality Assurance Project Plan" • ISO 17025:2005 / Cor.1:2006(E), Sections 4.1 - 4.15 and 5.1 - 5.10 |  | Cross Reference(s) to Column A within the Submitted Documentation | Applicant's Comments (If Needed) | Reviewer's Score: Is the criterion met? (Y/N/P)* | Reviewer's Comments
Management Requirements of ISO 17025:2005
Policies and procedures exist to ensure that the facility management and personnel are free from any undue internal and external commercial, financial, and other pressures and influences that may adversely affect the quality of their work (ISO 4.1) | N/A |  |  | N
The facility specifies responsibility, authority, and interrelation of all personnel who manage, perform or verify work affecting the quality of tests, calibrations, or both (ISO 4.1) | N/A |  |  | N
A member of the staff is appointed as quality manager (however named), who has the responsibility and authority for ensuring that the management system is implemented and followed at all times; he or she has access to the highest level of management at which decisions are made on facility policies or resources (ISO 4.1) | N/A |  |  | N
The facility has established a management system consistent with the scope of its activities: the policies, programs, procedures, and instructions of this system are sufficiently documented to assure the quality of the associated tests and results; this documentation is understood by and available to the appropriate personnel (ISO 4.2) | N/A |  |  | N
The management system defines the roles and responsibilities of the technical and quality managers, including the roles that ensure compliance with the management system (ISO 4.2) | N/A |  |  | N
The facility has established procedures to control all documents that form part of its management system (both internally generated or from eternal sources) such as regulations, standards, other normative documents, test and/or calibration methods and procedures, as well as drawings, software, specifications, instructions and manuals; the facility maintains and follow procedures to control the above documents (ISO 4.3) | N/A |  |  | N
The facility has established procedures for the review of requests, tenders and contracts, which ensure that for each contract, its requirements and the methods to be used are clearly defined; the facility has the capabilities and resources to meet the requirements; and the appropriate methods have been selected to meet the customer's requirements (ISO 4.4) | N/A |  |  | N
The facility maintains records of all reviews for a contract, including any resulting in contract changes, significant discussions with a customer relating to requirements or discussions of work during the period of contract execution (ISO 4.4) | N/A |  |  | N
The facility maintains records of all subcontractors that it uses for test and/or calibration and a corresponding record of compliance to ISO 17025:2005 (ISO 4.5) | N/A |  |  | N
The facility maintains a regularly reviewed list of approved suppliers and the results of supplier evaluations (ISO 4.6) | N/A |  |  | N
The facility has policies and procedures for purchase, storage, and pre-use inspection of critical consumables such as reagents and other laboratory supplies needed for test or calibration activities (ISO 4.6) | N/A |  |  | N
Both positive and negative feedback are solicited from customers and used to improve management, customer service, test and calibration systems at the facility (ISO 4.7) | N/A |  |  | N
The facility has a policy and procedure for the resolution of customer complaints and maintains a record of associated investigations and corrective actions (ISO 4.8) | N/A |  |  | N
The facility has policies and procedures for detecting, assessing, and remedying non-conforming work, including customer notifications and recalls (ISO 4.9) | N/A |  |  | N
The facility employs a process for continuous improvement through the use of quality objectives, audits, data analysis, preventive and corrective actions (ISO 4.10) | N/A |  |  | N
The facility has a policy and procedures for corrective actions that includes investigation of root cause, assessment of remediation methods, and monitoring of effectiveness (ISO 4.11) | N/A |  |  | N
The facility has a policy and procedures for preventive actions to proactively identify opportunities for improvement and paths for implementation (ISO 4.12) | N/A |  |  | N
The facility has policies and procedures for identification, collection, indexing, access, filing, storage, maintenance, backup and disposal of management, quality, and technical records (ISO 4.13) | N/A |  |  | N
The facility undergoes and documents regular internal audits that demonstrate performance and review tests and calibrations; the facility takes corrective actions and monitoring when needed (ISO 4.14) | N/A |  |  | N
The facility conducts regularly scheduled management reviews to assess suitability and effectiveness of policies and procedures, outcomes of audits, corrective and preventive actions, customer feedback, resources and training, and changes in the volume and type of work (ISO 4.15) | N/A |  |  | N
Technical Requirements of ISO 17025:2005
The facility examines and considers the factors that affect measurement uncertainty (e.g., equipment, training, environmental conditions) and uses this information in the development of methods, training of personnel, and selection of equipment used in their test and calibration protocols (ISO 5.1) | N/A |  |  | N
The facility has established goals regarding the education, training, and skill of facility personnel, and it has a policy and procedures for identifying training needs and providing training relevant to anticipated tasks at the facility; effectiveness of training is evaluated (ISO 5.2) | N/A |  |  | N
Environmental conditions are monitored, controlled, and recorded as required by relevant specifications and protocols to ensure measurement quality. These conditions may include, for example, biological sterility, dust levels, temperature, electrical supply, or other parameter as appropriate to the quality of the measurement. Tests and calibrations are stopped when environmental conditions may affect the results (ISO 5.3) | N/A |  |  | N
The facility maintains up-to-date instructions, standards, manuals, and reference data relevant to the work of the facility, which are accessible and available to all technical personnel (ISO 5.4) | N/A |  |  | N
The facility maintains a record of any deviations from testing parameters and calibrations, and it includes technical justifications for the deviations, facility authorization, and customer approval (ISO 5.4) | N/A |  |  | N
The facility selects appropriate methods that have been published as a standard or specified by a manufacturer. Where necessary, the facility may develop or adopt other non-standard methods deemed appropriate for use in testing or calibration, but they must be validated. Such validation must address the uncertainty of the method or the procedure for estimating uncertainty, and it must include a statement regarding the method's suitability for the intended use (ISO 5.4) | N/A |  |  | N
The facility incorporates methods to check calculations and accuracy of data transfer when processing test and calibration data (ISO 5.4) | N/A |  |  | N
Where the facility uses automated systems, computers and non-commercial software for data storage and processing, the facility has established and follows procedures that ensure data integrity, data security, and the appropriate maintenance of the equipment and software (ISO 5.4) | N/A |  |  | N
Records are maintained for each item of equipment and its software significant to the tests and/or calibrations performed; records shall include unique identifiers (e.g., model and serial number), calibration dates, and maintenance history (ISO 5.5) | N/A |  |  | N
Whenever practicable, equipment requiring calibration is labeled or otherwise identified to indicate the status of calibration, including date of last calibration or date of next calibration (ISO 5.5) | N/A |  |  | N
Measurement and test equipment are calibrated with traceability to a primary SI (International System of Units) reference standard, unless uncertainty measurements for the equipment have been documented to contribute little to total measurement uncertainty (ISO 5.6) | N/A |  |  | N
The facility has defined procedures and schedules for any intermediate checks used to maintain confidence in calibration status (ISO 5.6) | N/A |  |  | N
The sampling procedures include recording of test parameters that require control to ensure the validity of the test (e.g., flow over time, volumes, or sample concentration factors) (ISO 5.7) | N/A |  |  | N
The facility has procedures for the transportation, receipt, handling, protection, storage, retention and/or disposal of test and/or calibration items, including all provisions necessary to protect the integrity of the item and the interests of the facility and the customer (ISO 5.8) | N/A |  |  | N
The facility has quality control procedures for monitoring the validity of tests and calibrations undertaken; the resulting data are recorded and reviewed in such a way that trends are assessed, and where practicable, statistical techniques are applied to monitor and quantify confidence in the results (ISO 5.9) | N/A |  |  | N
When results of data quality analysis are found to exceed pre-defined quality criteria, the facility executes corrective actions to address the problems or errors detected (ISO 5.9) | N/A |  |  | N
The facility documents any deviations to the test processes and includes a description of all deviations and their impact on results in the test report (ISO 5.10) | N/A |  |  | N
Any data or backup documentation relevant to the test (e.g., calibration reports or logged data) but not included within or as an appendix to the test report are readily available at the facility (ISO 5.10) | N/A |  |  | N
Opinions and interpretations included in the test report by the facility are clearly marked as such (ISO 5.10) | N/A |  |  | N
+If the facility is not accredited to ISO 17025:2005/Cor.1:2006(E), the criteria on this worksheet will be used to ensure the facility and its QAPP are in accordance with the ISO standard.
*Y = yes, N = no, P = partially met, N/A = not applicable
This worksheet identifies a subset of items for which a USCG reviewer will seek objective evidence (i.e., records and corroboration by employees) when conducting an audit of the facility.
Note that items on other worksheets may seem similar to items listed on this worksheet, but they are not included here, as they are considered a subset of the ISO 17025:2005 requirements.
A comprehensive checklist for assessing compliance to ISO 17025:2005 can be found from Perry Johnson Laboratory Accreditation, Inc. (www.pjlabs.com; under "Resources" and "PJLA Documents", "ISO/IEC 17025 Assessment Checklist", Form LF-56-2k5).

## Revision Log
INDEPENDENT LABORATORY CHECKLIST FOR LAND-BASED AND SHIPBOARD VERIFICATION TESTING OF BALLAST WATER MANAGEMENT SYSTEMS
Date | Party or Parties | Change summary | Revision Number
2013-06-24 | JFG, TPW, LAD | Initial version | Rev00
2013-10-10 | KAH | ToC/Personnel tabs including Subcontracted facilities | Rev01
2013-12-09 | JFG, TPW, LAD | Augmentation methods | Rev01a
2014-07-18 | KAH, RAE | Sample volume collected for treated organisms ≥50 µm | Rev02
2014-09-25 | KAH, RAE | Add Holding Tank and Drainage criterion (Facility Validation tab) | Rev03